## Slide 1: Liquid Chromatography-Mass Spectrometry based Metabolomics Strategies Towards Clinical Applications
尹沛源
中国科学院大连化学物理研究所

## Slide 2
Metabolomics: From sample to clinic
Diagnosis

## Slide 3: Application of metabolomics in clinic
Cristina Menni et al., International Journal of Epidemiology 2013;1–9

## Slide 4
Procedures of metabolomics study
Data analysis
Sample pretreatment
Sample collection
Instrument analysis
Preanalytical aspects: collection, operation, transportation, storage
Quenching, Chosen of solvents & methods, Internal standards...
Instrument optimization, MS methods, mobile phase, pooled QC samples...
Peak detection, alignment, denoise, scaling, feature selection, modeling, prediction and classification...

## Slide 5: Challenges for LC MS based metabolomics in clinic
1, Sample collection
2, Standard operation procedure
3, High quality data
4, Data analysis and validation
5,Large scale samples

## Slide 6
Pseudotargeted metabolomics strategy
Sample directed
Information refining
Data acquisition
Anal. Chem. 2013, 85, 8326−8333

## Slide 7
Anal. Chem. 2013, 85, 8326−8333
High throughput metabolic profiling
Selection of target ion pair

## Slide 8
Anal. Chem. 2013, 85, 8326−8333
~2000 ions
~400 ions pairs

## Slide 9
Improved data quality for metabolomics
Anal. Chem. 2013, 85, 8326−8333
Repeatability
linearity response

## Slide 10
Advantages of pseudotargeted metabolomics strategy
Improved sensitivity
Better Repeatability
Better Linearity
Easier data handling
Still challenging for clinical applications…
Automatic raw data refining
Stability in large scale sample set
Calibration algorithm

## Slide 11
Improved pseudotargeted metabolomics strategy for clinical applications
Anal. Chem. 2015, 87, 5050−5055

## Slide 12
Anal. Chem. 2014, 86, 3793−3800
Ion fusion: reduction of massive data

## Slide 14
Comparison of the AUC and ERD to the datasets
with and without ion fusion using VIP method
Effects of ion fusion methods

## Slide 15
Anal. Chem. 2015, 87, 5050−5055
Comparison of metabolites coverage of nontargeted and pseudotargeted metabolomics
The software tool, MRM-Ion Pair Finder, was performed by the in-house coded algorithms with the Matlab environment (Version 7.14.0.739, R2012a, 64-bit). Available online

## Slide 16
An application of “MRM ion finder” in a clinical study
Anal. Chem. 2015, 87, 5050−5055

## Slide 17
Pseudotargeted methods in large scale clinical study
J. Chromatogr. A 1437 (2016) 127–136

## Slide 18
J. Chromatogr. A 1437 (2016) 127–136
the samples running sequence of 4 batches

## Slide 19
J. Chromatogr. A 1437 (2016) 127–136
Optimization of the QC samples for the large-scale metabolomics
The performance of two QC samples

## Slide 20
J. Chromatogr. A 1437 (2016) 127–136
Optimization of the QC measurement frequency for the large-scale metabolomics

## Slide 21
J. Chromatogr. A 1437 (2016) 127–136
Application of the optimized strategy to data integration of multiple batches

## Slide 22
J. Chromatogr. A 1437 (2016) 127–136
Application of the optimized strategy to extend the analytical time of a single batch

## Slide 23
采样分析975例样本
每个样本测得712种代谢物离子，包括212种已知代谢物
信息挖掘
筛选出11种候选代谢物标志物
新采样分析1053例样本
确定3种候选代谢标志物
代谢标志物试剂盒申报准备
Application of large scale metabolomics methods in a clinical study

## Slide 24
Summary
Pseudotargeted methods improve the data quality
Automatic ion-pair picking methods
QC calibration methods
Suitable for large scale metabolomics studies

## Slide 25
Acknowledgement
Prof. Guowang Xu & Group 1808: Metabolomics center in DICP.
NSFC
State key projects from MOST
DICP
Collaborators in the Hospitals
Thanks for your attention!